### Southington Housing Authority

### General Guidelines for After-Hour Maintenance Emergencies

### What is an emergency

Purpose: To provide clear guidelines for residents and the Maintenance Team when responding to after-hours emergencies. These guidelines ensure safety, security, and help minimize property damage.

Assess each Situation / Determine Severity

Each situation should fall into one category below (1-3):

1. Immediate danger to life or health

Contact Emergency Services Police or Fire (911)

The situation needs immediate intervention to ensure safety and security

(not a maintenance after hours emergency)

Examples Below:

- Fire-Related Emergencies

- Violent or Threatening Behavior from individuals

- Health and Medical Emergencies

- Criminal Activity or Suspicious Behavior

- Structural Damage with Immediate Risk

- Animal-Related Emergencies

- Critical After-Hours Maintenance Emergency with potential danger to property

Contact SHA Maintenance After-Hour Phone: (860) 637-2004

The situation requires immediate maintenance attention and cannot wait until the next business workday and may pose a direct threat to safety, health, or the integrity of the housing unit.

Examples below:

- Major flooding or Severe Water Leaks onto floor or carpet (i.e. burst pipe, failed water heater)

- Sewage backup or overflowing toilet

- Electrical Hazards (Sparking outlets or light fixtures.  Burning smell from outlets)

- Heating and Air Conditioning (HVAC) Failures (NO Heat during Freezing Temperatures

- Refrigerator / Freezer not operating

(OVER)

3. Non-Emergency Maintenance*

Contact the office to enter a work order (860) 628-5200 – Leave Message

The Situation can wait until next business work day.

Examples include but are not limited to below:

- Minor plumbing leaks (Leaking faucets in sinks/shower/tub) that is not overflowing.

- Light bulb replacements

- Lock-out assistance

- Clogged drains (non-urgent)

- Malfunctioning heating or cooling systems (non-essential units) unless in freezing conditions

- Broken window blinds or shades

- Pest control (non-urgent)

- Non-emergency electrical issues (e.g., outlets, switches)

- Routine maintenance (HVAC filters, air quality checks)

- Damaged door handles

- Cosmetic repairs – Including painting touchups or floor / carpet repairs

- Non-urgent window repairs

*If the tenant requests after-hours service for a non-emergency issue:

- They may call the emergency maintenance number

- An on-call technician may be dispatched

- A $50 service charge will apply