Southington Housing Authority

General Pulaski CDBG Modernization Project Update

Job Meeting #8 – June 30, 2026

Project Information

- Project: General Pulaski Apartments Modernization Project (CDBG Project No. QAM 24-031)

- Location: 6 Carter Lane, Plantsville, CT

- Meeting Date: June 30, 2026

- General Contractor: AVT Construction, Inc.

- Next Scheduled Meeting: July 14, 2026

Attendees

- Andrew Tarpill, QA+M Architecture

- Kevin Meier, Southington Housing Authority

- Todd Mester, AVT Construction, Inc.

- Wayne Benton, AVT Construction, Inc.

- Jessica Johnson, A&E Services Group, LLC

- Jeffrey Berube, B&M Electrical & Security LLC

- Peter Testa, A&E Services Group, LLC

- Lucille Vaughan, Connecticut Department of Housing (DOH)

Recent Progress

- Heat pump installation and electrical work have been completed throughout the site. A breaker issue remains in one apartment and is being addressed.

- All fire alarm equipment has been delivered to the site.

- Soffit replacement work has been completed.

- A mock-up of the new attic doghouse siding and copper flashing has been installed for review.

- Camera installation materials are onsite, except for the system server, which is still on order.

- One security camera at the Community Building will be relocated to improve building coverage.

Upcoming Work

- Final review and approval of the attic doghouse siding and flashing mock-up.

- Resume camera installation once details for mounting on existing light poles are finalized.

- Continue coordination with the Fire Marshal for approval of the fire alarm system.

- Submit additional proposed change orders for site lighting, camera installation, conduit work, soffit lighting, and Community Building repairs.

- Prepare and submit Pay Application #4.

Project Coordination

- The contractor will finalize pricing for several proposed change orders before submitting them for review.

- The electrical contractor will continue following up with the Fire Marshal regarding fire alarm approval.

- The Department of Housing (DOH) has implemented a new review process requiring all proposed change orders to be approved before payment applications can be processed.

- The project team will prepare the required documentation so outstanding change orders can receive DOH approval.

Project Funding & Change Orders

- Pay Applications #2 and #3 remain unpaid due to the new DOH review requirements and the temporary closure of the State Comptroller's Office.

- Contractors have temporarily paused portions of the work because of delayed payments due to DOH fiscal year closedown.

- Additional costs related to late payment fees will be documented and submitted through a future change order.

Looking Ahead

- The project team hopes construction activities will resume once outstanding payments are received.

- Remaining project funds may be used for additional site improvements, including replacement of aging light poles and other exterior upgrades, after all major work and approved change orders are completed.

- The Housing Authority, contractor, and Department of Housing will continue working together to resolve funding delays so the project can move forward without further interruption.

The Southington Housing Authority remains committed to improving the safety, efficiency, and long-term quality of housing at General Pulaski Terrace Apartments. Additional project updates will be provided as construction progresses.